## Sheet1
Register | Bitfields | Address | Permissions | Notes
DVC_STATUS | 0: Power_Good 1: USB_Connected 5-2: Selected_Probes | 0 | R
DVC_MEASUREMENT_CONFIG | 0: Start_Measure 1: Stop_Measure 2: Measure_In_Progress 3: Valid_Measure_Config 5-4: Measure_Probe_Config 9-6: Measure_Type_Config | 1 | RW
DVC_PROBE_CONFIG | 3-0: Used_Probes 8-4: Probe_1_Config 13-9: Probe_2_Config 18-14: Probe_3_Config 23-19: Probe_4_Config | 2 | RW
DVC_2PM_DCRESISTANCE_1 | 23-0: Test_Current_Value | 3 | RW
DVC_2PM_CURRVOLT_1 | 1-0: Sweep_Param | 4 | RW
DVC_2PM_CURRVOLT_2 | 23-0: Starting_Param | 5 | RW
DVC_2PM_CURRVOLT_3 | 23-0: Ending_Param | 6 | RW
DVC_2PM_CURRVOLT_4 | 23-0: Increment_Param | 7 | RW
DVC_2PM_CAPVOLT_1 | 23-0: Starting_Volt | 8 | RW
DVC_2PM_CAPVOLT_2 | 23-0: Ending_Volt | 9 | RW
DVC_2PM_CAPVOLT_3 | 23-0: Increment_Volt | 10 | RW
DVC_2PM_IMPSPEC_1 | 13-0: Starting_Freq | 11 | RW
DVC_2PM_IMPSPEC_2 | 13-0: Ending_Freq | 12 | RW
DVC_2PM_IMPSPEC_3 | 13-0: Increment_Freq | 13 | RW
DVC_2PM_IMPSPEC_4 | 23-0: Max_Peak_Volt | 14 | RW
DVC_2PM_IMPSPEC_5 | 23-0: Min_Peak_Volt | 15 | RW
DVC_3PM_TRANSCHAR_1 | 23-0: Starting_Volt | 16 | RW
DVC_3PM_TRANSCHAR_2 | 23-0: Ending_Volt | 17 | RW
DVC_3PM_TRANSCHAR_3 | 23-0: Increment_Volt | 18 | RW
DVC_3PM_OUTCHAR_1 | 23-0: Starting_Volt | 19 | RW
DVC_3PM_OUTCHAR_2 | 23-0: Ending_Volt | 20 | RW
DVC_3PM_OUTCHAR_3 | 23-0: Increment_Volt | 21 | RW
DVC_3PM_CAPVOLT_1 | 23-0: Starting_Volt | 22 | RW
DVC_3PM_CAPVOLT_2 | 23-0: Ending_Volt | 23 | RW
DVC_3PM_CAPVOLT_3 | 23-0: Increment_Volt | 24 | RW
DVC_3PM_ELECHEM_1 | 13-0: Starting_Freq | 25 | RW
DVC_3PM_ELECHEM_2 | 13-0: Ending_Freq | 26 | RW
DVC_3PM_ELECHEM_3 | 13-0: Increment_Freq | 27 | RW
DVC_3PM_ELECHEM_4 | 23-0: Max_Peak_Volt | 28 | RW
DVC_3PM_ELECHEM_5 | 23-0: Min_Peak_Volt | 29 | RW
DVC_4PM_PROBERESISTANCE_1 | 23-0: Test_Current_Value | 30 | RW
DVC_2PM_LOWRESISTANCE_1 | 23-0: Test_Current_Value | 31 | RW
DVC_4PM_IMPSPEC_1 | 13-0: Starting_Freq | 32 | RW
DVC_4PM_IMPSPEC_2 | 13-0: Ending_Freq | 33 | RW
DVC_4PM_IMPSPEC_3 | 13-0: Increment_Freq | 34 | RW
DVC_4PM_IMPSPEC_4 | 23-0: Max_Peak_Volt | 35 | RW
DVC_4PM_IMPSPEC_5 | 23-0: Min_Peak_Volt | 36 | RW
DVC_FLUSH_SAMPLE_DATA_1 | 11-0: Sample | 100 | R
DVC_FLUSH_SAMPLE_DATA_2 | 11-0: Sample | 101 | R
DVC_FLUSH_SAMPLE_DATA_3 | 11-0: Sample | 102 | R